**8mm NMR SAMPLE TUBES (0.3145 - 0.3150” OD) ROUND BOTTOM**

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| CATALOG NUMBER | UsageMHz | Wall | Maximum WallVariation | Camber TIR | Length | Price € / each |
| **1-24** | **25+** |
| NE-L8-7NE-L8-8 | 100-300 | 0.50mm | 0.003” | 0.002” | 7”(178mm)8”(203mm) | 12,7013,70 | 11,9512,95 |
| NE-H8-7NE-H8-7 | 400 -500 | 0.50mm | 0.0015” | 0.001” | 7”(178mm)8”(203mm) | 20,6521,65 | 19,6520,65 |

**10mm NMR SAMPLE TUBES (0.3932 - 0.3937” OD) ROUND BOTTOM**

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| CATALOG NUMBER | Usage MHz | Wall | Maximum WallVariation | Camber TIR | Length | Price € / each |
| **1-24** | **25+** |
| NE-L10-7NE-L10-8 | 100 - 300 | 0.50mm | 0.003” | 0.002” | 7”(178mm)8”(203mm) | 12,5013,50 | 11,2512,00 |
| NE-H10-7NE-H10-8 | 400 -500 | 0.46mm | 0.0015” | 0.001” | 7”(178mm)8”(203mm) | 20,0022,00 | 18,0020,00 |
| NE-U10-7NE-U10-8 | 600+ | 0.46mm | 0.001” | 0.0005” | 7”(178mm)8”(203mm) | 24,0026,00 | 21,5023,50 |
| NE-H10-MW-7 | 400 | 1.00mm | 0.0015” | 0.001” | 7”(178mm) | 28,50 | 25,75 |
| NE-H10-HW-7 | 400 | 1.7mm | 0.003” | 0.001” | 7”(178mm) | 35,74 | 32,00 |

**HIGH TEMPERATURE / UV STUDIES**

**10mm QUARTZ NMR SAMPLE TUBES (0.3932 - 0.3937” OD) ROUND BOTTOM**

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| CATALOG NUMBER | Usage MHz | Wall | Maximum WallVariation | Camber TIR | Length | Price € / each |
| **1-24** | **25+** |
| NE-MQ10-7 | 200 | 0.50mm | 0.003” | 0.002” | 7”(178mm) | 50,00 | 45,00 |
| NE-HQ10-7 | 300 -500 | 0.50mm | 0.0015” | 0.001” | 7”(178mm) | 55,00 | 49,50 |

**15mm NMR SAMPLE TUBES (0.5900 - 0.5910” OD) ROUND BOTTOM**

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| CATALOG NUMBER | Usage MHz | Wall | Maximum WallVariation | Camber TIR | Length | Price € / each |
| **1-9** | **10+** |
| NE-L15-7NE-L15-M-7 | 200-400 | 0.70mm1.30mm | 0.002”0.003” | 0.001” | 7”(178mm) | RequestRequest | RequestRequest |

**16mm NMR SAMPLE TUBES (0.6294 - 0.6304” OD) ROUND BOTTOM**

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| CATALOG NUMBER | Usage MHz | Wall | Maximum WallVariation | Camber TIR | Length | Price € / each |
| **1-9** | **10+** |
| NE-L16-7NE-L16-8 | 200-400 | 0.72mm | 0.002” | 0.001” | 7”(178mm)8”(203mm) | RequestRequest | RequestRequest |

**Note: 20-30mm OD sample tubes are suitable for imaging applications**

**Lengths and Bottom Style are optional.**

**20mm NMR SAMPLE TUBES (0.7870 - 0.7880” OD) FLAT BOTTOM**

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| CATALOG NUMBER | Usage MHz | Wall | Maximum WallVariation | Camber TIR | Length | Price € / each |
| **1-9** | **10+** |
| NE-L20-7NE-L20-8 | 200 - 400 | 0.80mm | 0.002” | 0.001” | 7”(178mm)8”(203mm) | 37,0040,00 | 35,0038,00 |

**25mm NMR SAMPLE TUBES (0.9838 - 0.9848” OD) FLAT BOTTOM**

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| CATALOG NUMBER | Usage MHz | Wall | Maximum WallVariation | Camber TIR | Length | Price € / each |
| **1-9** | **10+** |
| NE-L25-7NE-L25-8 | 200-400 | 0.90mm | 0.002” | 0.001” | 7”(178mm)8”(203mm) | 44,3047,00 | 41,9044.70 |

**27mm NMR SAMPLE TUBES (1.0625 - 1.0635” OD) FLAT BOTTOM**

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| CATALOG NUMBER | Usage MHz | Wall | Maximum WallVariation | Camber TIR | Length | Price € / each |
| **1-9** | **10+** |
| NE-L27-7NE-L27-8 | 200-400 | 0.90mm | 0.002” | 0.001” | 7”(178mm)8”(203mm) | 47,0051.10 | 44,4548,33 |

**30mm NMR SAMPLE TUBES (1.18 ± 0.02” OD) ROUND OR FLAT BOTTOM**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| CATALOG NUMBER | Usage  | OD | Wall | Length | Price € / each |
| NE-SL30 | Imaging | 30±0.5mm | 1.4mm | optional | Request |